## Calibrating design V1
First attempt at calibrating the Dog Scale, April 10-12, 2016. 4 load sensors combined before amplification.

			Calculating M and B assuming a linear relationship of weight and value
Raw value	Average	weight	X	Y			M		B		Calculating error for a large weight
259852			5	314463.125					265.70925
259891			10	368162.166666667	53699.0416666667	10739.8083333333		259848.865530303			266.3536
259841			15	422683	54520.8333333333	10904.1666666667		260213.048295454			265.75393
259854			20	477253.222222222	54570.2222222223	10914.0444444444		260626.619949495			266.00979
259834			25	531089.727272727	53836.5050505051	10767.301010101	10831.3301136364	260306.474431818	260248.752051768		265.91061
259847	259853.166666667	0					SCALE		OFFSET		266.16018
314535					266.22711
314464					266.25988
314459					266.18704	266.0634877778
314479					264.1	0.0074346376	So it's .7% off, which isn't bad at all.
314430				Calculating short term noise					For a 44 lb dog, that's about 1/3 of a lb, which is not bad for a first shot at calibration
314434				-0.02382
314456				-0.02899
314448	314463.125	5		-0.02502
368121				-0.02742
368170				-0.02576					Calculating the error of an increment above high weight
368171				-0.02299					271.79318
368180				-0.02234					271.72863
368178				-0.02585					271.56771
368185				-0.02327					271.62255
368145				-0.02936					271.66439
368144				-0.02631					271.46395
368182				-0.02087					271.71157
368144				-0.02373					271.55258
368167				-0.02059					271.63845
368159	368162.166666667	10		-0.02964					271.99954
422680				-0.0216					271.63928
422654				-0.02317					271.89492	Average	Avg-myweight
422670				-0.02576					271.60751	271.6834046154	5.6199168376	Incremental error is big:
422682				-0.02493					A 5 lb weight measures 5.6 lbs when added to 266 lbs
422731				-0.02336
422689				-0.02641
422703				-0.02539
422682				-0.02751
422695				-0.02197	-0.0248358333	0.0025884911	0.0077654733
422680					Average	Std Deviation	Std Dev * 3
422661
422669	422683	15		Measuring creep (long term drift)
477344				Weight at 10:30pm Apr 10		Weight at 10:54pm Apr 10		Weight at 7:35am April 11		At 9:07pm Apr 11		7:30pm Apr 12		zero weight after all that	zero 10pm Apr 13
477224				25.10692		25.09353		25.03481		24.9796		24.92134		-0.17616	-0.12178
477255				25.12427		25.09067		25.03942		24.9771		24.92004
477236				25.40873		25.09307		25.03795		24.97756		24.91709
477185				25.10461		25.0939		25.04035		24.97609		24.91654
477231				25.11633		25.09104		25.03961		24.97581		24.92152
477242				25.10886		25.09159		25.03629		24.98144		24.923
477288				25.10673		25.08864		25.03813		24.97821		24.91146
477274	477253.222222222	20		25.09279		25.09288		25.03915		24.97886		24.91349
531085				25.09658		25.09039		25.03961		24.98098		24.91155
531101				25.09704		25.08679		25.03573		24.97083		24.91247
531054				25.10572		25.0903		25.03472		24.97341		24.91866
531076				25.10581		25.09187		25.03545		24.97692		24.92014
531082				25.09833		25.09214		25.02899		24.97877		24.91746
531088				25.10101		25.09297		25.02678		24.96907		24.91571
531137				25.10267		25.09214		25.02862		24.96501		24.91506
531107				25.10304		25.0951		25.02622		24.97452		24.91728
531105				25.10313	25.1225041176	25.0903		25.0325		24.97166		24.91654
531089					25.09057		25.03112		24.97387		24.91598
531063	531089.727272727	25				25.09242		25.03665		24.97027		24.91608
					25.0927		25.03758	25.034984	24.96944		24.92328
Measuring 15 lbs at the center and corners					25.09501				24.97073	24.9747690476	24.91792
15.239					25.08864					24.91912	24.9173513636	0.008166095
14.912					25.09491
14.861					25.09565
14.721	Difference					25.08993
14.513	0.726					25.09297
					25.0878
					25.09224
					25.0926	25.0918193103

## Matching Resistors
Finding pairs of resistors that most closely match their corresponding Load Sensor resistors. Completed May 1, 2016

Amplifier 1 and Load Sensor 1: Upper Right (UR)
Resistor combination	raw ADC value	difference	conclusion	value if R3=R4	soldered
A B	29253
B A	-369212	-398465	B > A	-169979.5
B C	-313992
C B	-27409	286583	B > C	-170700.5
C D	-33650
D C	-293905	-260255	D > C	-163777.5
B D	-170110
D B	-155505	14605	B > D	-162807.5
C A	-229343
A C	-110304	119039	C > A	-169823.5
Use C B as R3 R4	-29993				-57590	A big change, but ok.

Amplifier 2 and Load Sensor 2: Lower Right (LR)
Resistor combination	raw ADC value	difference	conclusion	value if R3=R4	soldered
0V (S+ to S-)	4800
A B	-210850
B A	173892	384742	A > B	-18479
B C	-100692
C B	64269	164961	B > C	-18211.5
C D	141662
D C	-158904	-300566	D > C	-8621	resistances changed somehow
C A	256994
A C	-264435	-521429	A > C	-3720.5
D B	-86592
Use D B as R3 R4	-88291				-60863	Not a huge change.

Amplifier 3 and Load Sensor 3: Upper Left (UL)
Resistor combination	raw ADC value	difference	conclusion	value if R3=R4	soldered
0V (S+ to S-)	6996
A B	291779
B A	252733	-39046	A > B	272256
C D	531758
D C	4204	-527554	C > D	267981
A C	1571
Use A C as R3 R4	-2081				45939	A big change, but still ok.

Amplifier 4 and Load Sensor 4: Lower Left (LL)
Resistor combination	raw ADC value	difference	conclusion	value if R3=R4	soldered
0V (S+ to S-)	5367
A B	115292
B A	-35244	-150536	B > A	40024
Use B A as R3 R4	-23079				3123	Again, a big change, but ok.

## Calibration V2
Calibrating the 4-load-cell-amplifier version of the scale.
Note: redo the calibration once you've fixed the load sensors in place and centered the plywood top.
Calculating noise with zero weight on the scale (not even the plywood top)					5 lbs weights = 5.3 lbs each; 15 lb weight = 15 lbs (bathroom scale result)
LL	UL	UR	LR
-14995	14416	-62895	-92811			Calculating M (slope) for each Load Sensor (weight at center of gravity is divided by 4)
-14945	14493	-62962	-92796			LL	UL	UR	LR
-14846	14604	-63084	-92761		19.2 to 0lbs	22609.51953125	14750.7469618056	21637.04296875	12705.2834201389
-14863	14581	-63087	-92696		24.5 to 19.2 lbs	16495.8993710692	19330.2641509434	17031.8490566038	19684.2767295597
-14809	14736	-63109	-92650		29.8 to 24.5 lbs	16076.4779874214	17715.2704402516	17769.4591194969	17926.893081761
-14754	14819	-63114	-92660		44.8 to 29.8 lbs	16570.7555555556	17802.1866666667	19041.2088888889	19257.9377777778
-14699	14836	-63076	-92572		Average M	17938.163111324	17399.6170549168	18869.8900084349	17393.5977523094
-14691	14900	-63061	-92554		Avg M ignore 0lbs	16381.044304682	18282.5737526205	17947.5056883298	18956.3691963662
-14616	14958	-63113	-92487
-14612	14957	-63048	-92460
-14550	15016	-63041	-92461
-14541	15033	-63053	-92467
-14508	15097	-63114	-92451
-14498	15103	-63080	-92373
-14462	15140	-63077	-92444
-14441	15129	-63018	-92422
-14401	15212	-63057	-92393
-14417	15260	-63080	-92317
-14405	15269	-63087	-92334
-14381	15294	-62998	-92291
-14308	15287	-63031	-92318
-14340	15383	-63016	-92240
-14329	15343	-63078	-92302
-14268	15367	-63020	-92281
-14250	15450	-63054	-92263
-14241	15417	-63067	-92292
-14242	15509	-63100	-92234
-14201	15467	-63034	-92241
-14222	15522	-63082	-92212
-14219	15520	-63038	-92214
-14212	15553	-63054	-92212
-14161	15626	-63045	-92234
-14482.09375	15134.28125	-63055.40625	-92420.09375	Average X = 0 lbs, = B (intercept) for each sensor
718.9889511635	993.6604570127	137.4114927754	548.0731782065	3 * Std Dev

Values for X = weight of the plywood top = 19.2 lbs
93901	85233	40923	-31896
93875	85461	40817	-31702
93977	85565	40828	-31725
93876	85761	40719	-31453
93942	85870	40733	-31420
93968	85947	40733	-31399
93959	85983	40739	-31398
94062	86026	40758	-31340
94078	86031	40768	-31315
94044	86139	40809	-31297
94093	86200	40775	-31273
94105	86204	40794	-31280
94179	86274	40796	-31206
94196	86330	40758	-31246
94399	86044	41086	-31571
94043.6	85937.8666666667	40802.4	-31434.7333333333	Average X = 19.2 lbs

Values for X = plywood + 5.3 lbs = 24.5 lbs
115505	110954	63468	-5590
115617	111148	63337	-5541
115672	111260	63346	-5468
115744	111291	63310	-5469
115771	111423	63318	-5377
115806	111494	63359	-5341
115865	111568	63329	-5341
115924	111661	63318	-5288
115964	111704	63361	-5263
115952	111727	63307	-5249
116040	111791	63337	-5234
116030	111817	63370	-5161
116084	111899	63340	-5205
116278	111734	63518	-5376
116258	111786	63526	-5393
115900.666666667	111550.466666667	63369.6	-5353.0666666667	Average X = 24.5 lbs

Values for X = plywood + 10.6 lbs = 29.8 lbs
137110	134882	86919	18342
137114	134898	86963	18380
137125	134954	86902	18340
137147	134961	86925	18325
137127	134994	86911	18410
137124	134982	86922	18428
137150	134990	86915	18393
137106	135019	86882	18433
137211	135074	86886	18441
137226	135072	86872	18440
137288	135075	86871	18414
137353	135036	86938	18372
137304	135112	86965	18410
137343	135147	86910	18404
137302	135152	86931	18469
137202	135023.2	86914.1333333333	18400.0666666667	Average X = 29.8 lbs

Values for X = plywood + 25.6 lbs = 44.8 lbs
199131	201377	158457	90405
199212	201393	158406	90388
199162	201606	158250	90588
199261	201589	158306	90543
199267	201637	158320	90514
199263	201688	158319	90561
199369	201786	158327	90647
199359	201815	158268	90701
199349	201846	158327	90658
199416	201920	158301	90694
199400	201950	158296	90703
199476	201972	158296	90720
199481	201987	158332	90679
199471	202065	158294	90737
199518	202090	158281	90722
199342.333333333	201781.4	158318.666666667	90617.3333333333	Average X = 44.8 lbs